## NaCSBoQ (hidden)
Item Wise BoQ | [13 empty] | 15
BoQ_Ver3.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: NATIONAL CENTRE FOR SUSTAINABLE AQUACULTURE
Name of Work:TENDER FOR THE CIVIL AND PARTITIONING WORKS FOR NACSA-MPEDA CENTRALISE LAB, KAKINADA
Contract No: Tender No.: NaCSA/HQ/ADMIN/49/2019-20 Date: 14-02-2020
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (DOMESTIC TENDERS - RATES ARE TO GIVEN IN RUPEES (INR) ONLY) (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | CGST Amount in INR Rs. P | SGST Amount in INR Rs. P | IGST Amount in INR Rs. P | Any Other Taxes in Rs. P | Any Other Duties/Levies in Rs. P | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [32 empty] | TOTAL AMOUNT Without Taxes col (11) = (4) x (6) in Rs. P | TOTAL AMOUNT With Taxes col (12) = sum (7) to (11) in Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 6 | 7 | 8 | 9 | 10 | 12 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 11 | 12 | 13
1 | Flooring work
1.01 | Entire laboratory except office room, lab in-charge room and conference hall may be made with vinyl sheet flooring (thickness 2mm) Make may be Pergo, Armstrong or equivalent types | item1 | 3500 | sqft | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2 | Glass partition | [50 empty] | 0 | 0 | Zero Only
2.01 | Partition of each room may be carried out with aluminum frame with glass at top (5'6" x 4') and glass partition with frame at bottom (2'6" x 4') of partition. Powder coated Aluminum frame partitions Required glass thickness: 6mm Aluminium: 2.5X1.5 & thickness 1.5mm Supply and installation of 6 mm toughen glass (semi frosted-as per requirement) Glass make be Saint-Gobain or equivalent, Aluminium Make me Jindal or Equivalent with all necessary accessories (SS) for Glass and Aluminium fittings. Details of partition was given in the Lab report DURABILITY: The Systems shall be resistant to chemicals, and be fungal and vermin proof. The profiles must be colourfast, being able to withstand weather and light resistance test of 4000 hours on xenon and weathering apparatus. COLOUR: The Systems colour should be uniform and consistent. GLAZING GASKETS: All glazing gaskets as well as weather seals are to be extruded from non migratory EPDM . Glazing gaskets shall be a continuous length. Gasket may be subjected to random testing and shall be obtained from the profile Systems supplier. Supply and installation of 6 mm Toughened Glass glass door ( semi frosted-as per requirement) on aluminium frame work. Rubber beading should be inserted in-between glass and frame work. Door should be fixed on approved make floor springs. Rates to include supply and fixing of necessary handles and locks.The Door Systems can be fixed directly to the brickwork or surrounding structure using proprietary fixings and silicon sealant. Alternatively, a variable fixing plug fixed to the outside of the frame can be simply fixed to the structure, no matter what the cavity width, no timber or other sub frames are necessary.Water drainage is made in the profile to ensure that if any water comes due to an open window then it is immediately drained out.The multi point locking systems locks the doors at 4 -5 points on turning the handle once. The same ensures that the door is secure and also ensures that it is Air tight as the door is locked at 5 points from top to bottom.The Door System can be internally or externally glazed with single glazing in 2mm of approved colour. | item2 | 3878 | sqft | [47 empty] | 0 | 0 | Zero Only
2.02 | Lab Main entry door may be made with 12mm complete glass double door (6ft X 6ft(3ft X3ft) with lock & handles (Glass make be Saint-Gobain or equivalent with Glassware hardware fittings of Ozone or titan or Similar make and necessary SS hardware fittings | item3 | 1 | sqft | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2.03 | Laboratory premises entry door may be made with 12mm complete glass double door (6ft X 5ft(2.5ft X 2.5ft) with lock & handles (Glass make be Saint-Gobain or equivalent with Glassware hardware fittings of Ozone or titan or Similar make and necessary SS hardware fittings | item4 | 1 | Nos. | [47 empty] | 0 | 0 | Zero Only
2.04 | Individual Doors for various rooms may be made with 12mm complete glass full door (6ft X 3ft) with lock & handles (Glass make be Saint-Gobain or equivalent with Glassware hardware fittings of Ozone or titan or Similar make and necessary SS hardware fittings | item5 | 20 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2.05 | 12 mm Fully Glass Doors with SS support: Supply and installation of Full Glass doors (preferably sliding) operated by manual operated ( with door closer) access . . Complete installation with supporting,door stopper ,handle,lock etc. (Glass make be Saint-Gobain or equivalent with Glassware hardware fittings of Ozone or titan or Similar make and necessary SS hardware fittings ) | item6 | 8 | Nos. | [47 empty] | 0 | 0 | Zero Only
2.06 | Bison Board Partition:Supplying and fixing of 12mm double skin bison board partition on heavy duty GI frame work. Conference Hall: - Washroom side may be closed with Bison panel (23 X 8 ft). Middle shutter may be closed with bison panel adjacent to store room in office area. Sample storage room: Adjacent to office may be closed with bison panel (4X8 ft) & racks may be provided at this area to store samples which can be stored at room temperature. Bison panel may be provided at lab store adjacent to post & PCR amplification room as shown in layout. | item7 | 220 | sqft | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2.07 | Partition at PCR lab section may be provided with smoke glass at bottom at sample addition, master mix room & nucleic acid extraction room adjacent to in charge room & office room | item8 | 76 | sqft | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3 | False Ceiling |  |  | sqft | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.01 | Entire 4000 Sft with POP (Plaster of Paris) sheets (12mm) (water proof), Channel - 5mm may be made. | item9 | 4000 | sqft | [47 empty] | 0 | 0 | Zero Only
4 | Painting |  |  | sqft | [47 empty] | 0 | 0 | Zero Only
4.01 | Putty - wall: Supplying and applying of two cots of cement based putty on walls over one cot primer. Rate to include any surface preparation and smoothing applied wall putty. | item10 | 8000 | sqft | [47 empty] | 0 | 0 | Zero Only
4.02 | Painting - Wall: Supplying and applying of two cots of acrylic emulsion on wall over one cot primer. It should be tolerant up to 70°C temperature and it should be resistant to common lab solvents and chemicals. | item11 |  | sqft | [47 empty] | 0 | 0 | Zero Only
4.03 | Painting - Ceiling: Supplying and applying of two cots of acrylic emulsion on wall over one cot primer. It should be tolerant up to 70°C temperature and it should be resistant to common lab solvents and chemicals. | item12 |  | sqft | [47 empty] | 0 | 0 | Zero Only
5 | Granite top tables to be fabricated with sinks and tap as shown in Annex-I |  |  | sqft | [47 empty] | 0 | 0 | Zero Only
5.01 | Sample Storage / Preparation room” L” Shape 5560mm Workstation | [50 empty] | 0 | 0 | Zero Only
5.02 | Epoxy powder coated Counter (Size: 5560x610x820) (LxWxH) Supplying and fabricating of 5560mm wide workstation with epoxy powder coated 16 gauge CRCA Sheet frame work and partition with 1mm thick epoxy powder coated CRCA sheets. Work station should have under counter storage space, Sink counter and foot rest as per the design. Top portion of the workstation should have CRCA Sheet Frame supports in every 600mm gap for bearing Granite counter top and fixing Sink. Drawers and Shutters should made with 1mm thick CRCA sheets and finished with approved color epoxy powder coating. Rates should inclusive of necessary handles, locks, hardwares and other accessories. | item13 | 1 | Nos. | [47 empty] | 0 | 0 | Zero Only
5.03 | Base Cabinet L=600mm 2 shutter . | item14 | 2 | Nos. | [47 empty] | 0 | 0 | Zero Only
5.04 | Base Cabinet L=600mm 1 drawer 2 shutter . | item15 | 3 | Nos. | [47 empty] | 0 | 0 | Zero Only
5.05 | Corner base cabinet L=900mm with 1 shutter. | item16 | 1 | Nos. | [47 empty] | 0 | 0 | Zero Only
5.06 | Electrical race way. | item17 | 4 + 8 | Nos. | [47 empty] | #VALUE! | #VALUE! | #VALUE!
5.07 | Granite countertop: Supplying and laying of 18mm thick 3-7 level (50, 100, 200, 400, 800, 1500, 3000) edge polished granite countertop with 100mm high granite back splash finished with epoxy coating. Cutting edges of counter top and backsplash should be chamfered slightly. | item18 | 3.4 | m2 | [47 empty] | 0 | 0 | Zero Only
5.08 | Sink & Water Tap: Providing and fixing of Polypropylene sink (600x600mm) (heat resistant up to 160°C) as per the design and 3 way goose neck brass tap with Teflon coating. | item19 | 2 | Nos. | [47 empty] | 0 | 0 | Zero Only
5.09 | Sample (ELISA & Water) Extraction Room L Shape 10675mm Workstation | [50 empty] | 0 | 0 | Zero Only
5.1 | Epoxy powder coated Counter (Size: 10675x760x820)(LxWxH):Supplying and fabricating of 10675mm wide workstation with epoxy powder coated 16 gauge CRCA Sheet frame work and partition with 1mm thick epoxy powder coated CRCA sheets. Work station should have under counter storage space, Sink counter and foot rest as per the design. Top portion of the workstation should have CRCA Sheet Frame Supports in every 600mm gap for bearing Granite counter top and fixing Sink. Drawers and Shutters should made with 1mm thick CRCA sheets and finished with approved colour epoxy powder coating. Rates should inclusive of necessary handles, locks, hardwares and other accessories. | item20 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.11 | Base Cabinet L=600mm 2 shutter. | item21 | 7 | Nos | [47 empty] | 0 | 0 | Zero Only
5.12 | Base Cabinet L=600mm 1 drawer 2 shutter. | item22 | 7 | Nos | [47 empty] | 0 | 0 | Zero Only
5.13 | Corner base cabinet L=900mm with 1 shutter. | item23 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.14 | Electrical race way. | item24 | 8+16 | Nos | [47 empty] | #VALUE! | #VALUE! | #VALUE!
5.15 | Granite counter top:Supplying and laying of 18mm thick 3-7 level (50, 100, 200, 400, 800, 1500, 3000) edge polished granite countertop with 100mm high granite back splash finished with epoxy coating. Cutting edges of counter top and backsplash should be chamfered slightly. | item25 | 8.1 | m2 | [47 empty] | 0 | 0 | Zero Only
5.16 | Sink & Water Tap: Providing and fixing of Polypropylene sink (560x355mm) (heat resistant up to 160°C) as per the design and 3 way goose neck brass tap with Teflon coating. | item26 | 2 | Nos | [47 empty] | 0 | 0 | Zero Only
5.17 | Microbiology Lab Sample Preparation 2743mm Workstation | [50 empty] | 0 | 0 | Zero Only
5.18 | Epoxy powder coated Counter (Size: 2743x610x820)(LxWxH) : Supplying and fabricating of 2743mm wide workstation with epoxy powder coated 16 gauge CRCA Sheet frame work and partition with 1mm thick epoxy powder coated CRCA sheets. Work station should have under counter storage space and foot rest as per the design. Top portion of the workstation should have CRCA Sheet Frame Supports in every 600mm gap for bearing Granite counter top. Drawers and Shutters should made with 1mm thick CRCA sheets and finished with approved colour epoxy powder coating. Rates should inclusive of necessary handles, locks, hardwares and other accessories. | item27 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.19 | Base Cabinet L=750mm 1 drawer 2 shutter . | item28 | 2 | Nos | [47 empty] | 0 | 0 | Zero Only
5.2 | Base Cabinet L=600mm 2 shutter . | item29 | 2 | Nos | [47 empty] | 0 | 0 | Zero Only
5.21 | Electrical race way. | item30 | 1 + 2 | Nos | [47 empty] | #VALUE! | #VALUE! | #VALUE!
5.22 | Granite countertop : Supplying and laying of 18mm thick 3-7 level (50, 100, 200, 400, 800, 1500, 3000) edge polished granite countertop with 100mm high granite back splash finished with epoxy coating. Cutting edges of counter top and backsplash should be chamfered slightly. | item31 | 1.67 | m2 | [47 empty] | 0 | 0 | Zero Only
5.23 | Sink & Water Tap: Providing and fixing of Polypropylene sink (560x355mm) (heat resistant up to 160°C) as per the design and 3 way goose neck brass tap with Teflon coating. | item32 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.24 | Sample Extraction room- Island unit | [50 empty] | 0 | 0 | Zero Only
5.25 | Epoxy powder coated Counter (Size: 2440x1070x820)(LxWxH): Supplying and fabricating of 3000mm wide workstation with epoxy powder coated 16 gauge CRCA Sheet frame work and partition with 1mm thick epoxy powder coated CRCA sheets. Work station should have under counter storage space and foot rest as per the design. Top portion of the workstation should have CRCA Sheet Frame Supports in every 600mm gap for bearing Granite counter top. Drawers and Shutters should made with 1mm thick CRCA sheets and finished with approved colour epoxy powder coating. Rates should inclusive of necessary handles, locks, hardwares and other accessories. | item33 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.26 | Granite countertop: Supplying and laying of 18mm thick 3-7 level (50, 100, 200, 400, 800, 1500, 3000) edge polished granite countertop with 100mm high granite back splash finished with epoxy coating. Cutting edges of counter top and backsplash should be chamfered slightly. | item34 | 2.68 | m2 | [47 empty] | 0 | 0 | Zero Only
5.27 | Base Cabinet L=600mm 2 shutter . | item35 | 4 | Nos | [47 empty] | 0 | 0 | Zero Only
5.28 | Base Cabinet L=600mm 1 drawer 2 shutter . | item36 | 4 | Nos | [47 empty] | 0 | 0 | Zero Only
5.29 | Electrical race way. | item37 | 2 + 4 | Nos | [47 empty] | #VALUE! | #VALUE! | #VALUE!
5.3 | Sterlization room 2440mm Workstation | [50 empty] | 0 | 0 | Zero Only
5.31 | Epoxy powder coated Counter (Size: 2440x610x820)(LxWxH): Supplying and fabricating of 2440mm wide workstation with epoxy powder coated 16 gauge CRCA Sheet frame work and partition with 1mm thick epoxy powder coated CRCA sheets. Work station should have under counter storage space and foot rest as per the design. Top portion of the workstation should have CRCA Sheet Frame supports in every 600mm gap for bearing Granite counter top. Drawers and Shutters should made with 1mm thick CRCA sheets and finished with approved colour epoxy powder coating. Rates should inclusive of necessary handles, locks, hardwares and other accessories. | item38 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.32 | Granite countertop: Supplying and laying of 18mm thick 3-7 level (50, 100, 200, 400, 800, 1500, 3000) edge polished granite countertop with 100mm high granite back splash finished with epoxy coating. Cutting edges of counter top and backsplash should be chamfered slightly. | item39 | 1.49 | m2 | [47 empty] | 0 | 0 | Zero Only
5.33 | Base Cabinet L=600mm 1 drawer 2 shutter . | item40 | 2 | Nos | [47 empty] | 0 | 0 | Zero Only
5.34 | Base Cabinet L=600mm 2 shutter . | item41 | 2 | Nos | [47 empty] | 0 | 0 | Zero Only
5.35 | Electrical race way. | item42 | 1 + 2 | Nos | [47 empty] | #VALUE! | #VALUE! | #VALUE!
5.36 | Sink & Water Tap: Providing and fixing of Polypropylene sink (560x355mm) (heat resistant up to 160°C) as per the design and 3 way goose neck brass tap with Teflon coating. | item43 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.37 | Discarding & Washing room 1524mm Workstation | [50 empty] | 0 | 0 | Zero Only
5.38 | Epoxy powder coated Counter (Size: 1524x610x820)(LxWxH): Supplying and fabricating of 1524mm wide workstation with epoxy powder coated 16 gauge Galvanized Iron (GI) square tube frame work and partition with 1mm thick epoxy powder coated Galvanized Iron sheets. Work station should have under counter storage space and foot rest as per the design. Top portion of the workstation should have GI square tube supports in every 600mm gap for bearing Granite counter top. Drawers and Shutters should made with 1mm thick GI sheets and finished with approved colour epoxy powder coating. Rates should inclusive of necessary handles, locks, hardwares and other accessories. | item44 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.39 | Granite countertop: Supplying and laying of 18mm thick 3-7 level (50, 100, 200, 400, 800, 1500, 3000) edge polished granite countertop with 100mm high granite back splash finished with epoxy coating. Cutting edges of counter top and backsplash should be chamfered slightly. | item45 | 1 | m2 | [47 empty] | 0 | 0 | Zero Only
5.4 | Base Cabinet L=600mm 1 drawer 2 shutter . | item46 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.41 | Base Cabinet L=600mm 2 shutter . | item47 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.42 | Sink & Water Tap: Providing and fixing of Polypropylene sink (560x355mm) (heat resistant up to 160°C) as per the design and 3 way goose neck brass tap with Teflon coating | item48 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.43 | Common Washing room 3962mm Workstation | [50 empty] | 0 | 0 | Zero Only
5.44 | Epoxy powder coated Counter (Size: 3962x610x820)(LxWxH): Supplying and fabricating of 3490mm wide workstation with epoxy powder coated CRCA Sheet frame work and partition with 1mm thick epoxy powder coated CRCA sheets. Work station should have under counter storage space, Sink counter and foot rest as per the design. Top portion of the workstation should have CRCA Sheet Frame supports in every 600mm gap for bearing Granite counter top and fixing Sink. Drawers and Shutters should made with 1mm thick CRCA sheets and finished with approved colour epoxy powder coating. Rates should inclusive of necessary handles, locks, hardwares and other accessories. | item49 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.45 | Granite countertop: Supplying and laying of 18mm thick 3-7 level (50, 100, 200, 400, 800, 1500, 3000) edge polished granite countertop with 100mm high granite back splash finished with epoxy coating. Cutting edges of counter top and backsplash should be chamfered slightly. | item50 | 2.42 | m2 | [47 empty] | 0 | 0 | Zero Only
5.46 | Base Cabinet L=600mm 1 drawer 2 shutter . | item51 | 3 | [48 empty] | 0 | 0 | Zero Only
5.47 | Base Cabinet L=600mm 2 shutter . | item52 | 3 | [48 empty] | 0 | 0 | Zero Only
5.48 | Electrical race way. | item53 | 2 + 4 | [48 empty] | #VALUE! | #VALUE! | #VALUE!
5.49 | Sink & Water Tap: Providing and fixing of Polypropylene sink (560x355mm) (heat resistant up to 160°C) as per the design and 3 way goose neck brass tap with Teflon coating. | item54 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.5 | Nucleic Acid Extraction room 3660mm Workstation | [50 empty] | 0 | 0 | Zero Only
5.51 | Epoxy powder coated Counter (Size: 3660x610x820)(LxWxH): Supplying and fabricating of 3660mm wide workstation with epoxy powder coated 16 gauge CRCA Sheet frame work and partition with 1mm thick epoxy powder coated CRCA sheets. Work station should have under counter storage space and foot rest as per the design. Top portion of the workstation should have CRCA Sheet Frame supports in every 600mm gap for bearing Granite counter top. Drawers and Shutters should made with 1mm thick CRCA sheets and finished with approved colour epoxy powder coating. Rates should inclusive of necessary handles, locks, hardwares and other accessories. | item55 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.52 | Granite countertop: Supplying and laying of 18mm thick 3-7 level (50, 100, 200, 400, 800, 1500, 3000) edge polished granite countertop with 100mm high granite back splash finished with epoxy coating. Cutting edges of counter top and backsplash should be chamfered slightly. | item56 | 2.3 | m2 | [47 empty] | 0 | 0 | Zero Only
5.53 | Base Cabinet L=750mm 2 shutter . | item57 | 2 | Nos | [47 empty] | 0 | 0 | Zero Only
5.54 | Corner base cabinet L=900mm with 1 shutter. | item58 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.55 | Electrical race way. | item59 | 2 + 4 | Nos | [47 empty] | #VALUE! | #VALUE! | #VALUE!
5.56 | Master Mix & Sample Addition room 914mm Workstation | [50 empty] | 0 | 0 | Zero Only
5.57 | Epoxy powder coated Counter (Size: 914x610x820)(LxWxH): Supplying and fabricating of 914mm wide workstation with epoxy powder coated 16 gauge CRCA Sheet frame work and partition with 1mm thick epoxy powder coated CRCA sheets. Work station should have under counter storage space, Sink counter and foot rest as per the design. Top portion of the workstation should have CRCA Sheet Frame supports in every 600mm gap for bearing Granite counter top and fixing Sink. Drawers and Shutters should made with 1mm thick CRCA sheets and finished with approved colour epoxy powder coating. Rates should inclusive of necessary handles, locks, hardwares and other accessories. | item60 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.58 | Granite countertop: Supplying and laying of 18mm thick 3-7 level (50, 100, 200, 400, 800, 1500, 3000) edge polished granite countertop with 100mm high granite back splash finished with epoxy coating. Cutting edges of counter top and backsplash should be chamfered slightly. | item61 | 1 | m2 | [47 empty] | 0 | 0 | Zero Only
5.59 | Base Cabinet L=750mm 1 drawer 2 shutter . | item62 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.6 | PCR Amplification room 4575mm Workstation “L” Shape | [50 empty] | 0 | 0 | Zero Only
5.61 | Epoxy powder coated Counter (Size: 4575x610x820)(LxWxH) : Supplying and fabricating of 4575mm wide workstation with epoxy powder coated 16 gauge CRCA Sheet frame work and partition with 1mm thick epoxy powder coated CRCA sheets. Work station should have under counter storage space, Sink counter and foot rest as per the design. Top portion of the workstation should have CRCA Sheet Frame supports in every 600mm gap for bearing Granite counter top and fixing Sink. Drawers and Shutters should made with 1mm thick CRCA sheets and finished with approved colour epoxy powder coating. Rates should inclusive of necessary handles, locks, hardwares and other accessories. | item63 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.62 | Granite countertop: Supplying and laying of 18mm thick 3-7 level (50, 100, 200, 400, 800, 1500, 3000) edge polished granite countertop with 100mm high granite back splash finished with epoxy coating. Cutting edges of counter top and backsplash should be chamfered slightly | item64 | 2.79 | m2 | [47 empty] | 0 | 0 | Zero Only
5.63 | Base Cabinet L=750mm 2 shutter . | item65 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.64 | Base Cabinet L=600mm 2 shutter . | item66 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.65 | Base Cabinet L=600mm 1 drawer 2 shutter . | item67 | 2 | Nos | [47 empty] | 0 | 0 | Zero Only
5.66 | Corner base cabinet L=900mm with 1 shutter. | item68 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.67 | Electrical race way. | item69 | 3 + 6 | Nos | [47 empty] | #VALUE! | #VALUE! | #VALUE!
5.68 | Post PCR room 4270mm Workstation | [50 empty] | 0 | 0 | Zero Only
5.69 | Epoxy powder coated Counter (Size: 4270x750x900)(LxWxH): Supplying and fabricating of 4270mm wide workstation with epoxy powder coated 16 gauge CRCA Sheet frame work and partition with 1mm thick epoxy powder coated CRCA sheets. Work station should have under counter storage space, Sink counter and foot rest as per the design. Top portion of the workstation should have CRCA Sheet Frame supports in every 600mm gap for bearing Granite counter top and fixing Sink. Drawers and Shutters should made with 1mm thick CRCA sheets and finished with approved colour epoxy powder coating. Rates should inclusive of necessary handles, locks, hardwares and other accessories. | item70 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.7 | Granite countertop: Supplying and laying of 18mm thick 7 level (50, 100, 200, 400, 800, 1500, 3000) edge polished granite countertop with 100mm high granite back splash finished with epoxy coating. Cutting edges of counter top and backsplash should be chamfered slightly. | item71 | 2.6 | m2 | [47 empty] | 0 | 0 | Zero Only
5.71 | Base Cabinet L=750mm 2 shutter . | item72 | 2 | Nos | [47 empty] | 0 | 0 | Zero Only
5.72 | Base Cabinet L=600mm 1 drawer 2 shutter . | item73 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.73 | Corner base cabinet L=900mm with 1 shutter. | item74 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
5.74 | Electrical race way. | item75 | 3 + 6 | Nos | [47 empty] | #VALUE! | #VALUE! | #VALUE!
5.75 | Conference Hall 6100mm Workstation | [50 empty] | 0 | 0 | Zero Only
5.76 | Wooden Table | item76 | 2.69 | m2 | [47 empty] | 0 | 0 | Zero Only
6 | ELECTRICAL WORKS | [50 empty] | 0 | 0 | Zero Only
6.01 | INTERNAL ELECTRICAL WORK POINT WIRING-LIGHT POINT Supply & Wiring of Light point using 3 Runs of 1.5 Sq.mm 1.1 KV grade ISI marked PVC insulated FRLS single core stranded copper wire through 20/25 mm dia. medium duty electrical grade ISI marked PVC conduit in recessed system including supply & fixing of 1 No.6A one way Modular type control switch,6A Socket with base plate / cover, suitable metal boxes, inter connections , earthing the box etc. complete as required.(wires make:V guard, Finolex or Equivalent, switches Make: Legrand‐Mylink, L&T, MK or Equivalent. | item77 | [49 empty] | 0 | 0 | Zero Only
6.02 | One light point controlled by 1 No. 6A 1 way switch | item78 | 70 | Points | [47 empty] | 0 | 0 | Zero Only
6.03 | CIRCUIT & POWER WIRING | [50 empty] | 0 | 0 | Zero Only
6.04 | Supply & Wiring of circuits using 3 Runs of 1.5 Sq.mm. 1.1 KV grade ISI marked PVC insulated FRLS single core stranded copper wire through 20/25 mm dia. medium duty electrical grade ISI marked PVC conduit in recessed system. | item79 | 500 | m | [47 empty] | 0 | 0 | Zero Only
6.05 | Supply & Wiring of Power Points using 3 Runs of 2.5 Sq.mm. 1.1 KV grade ISI marked PVC insulated FRLS single core stranded copper wire for earthing through 20/25 mm dia. Medium duty electrical grade ISI marked PVC conduit should be done over Surface, Open, Concealed type with Air Curtain & 16 Sockets UPS Supply | item80 | 500 | m | [47 empty] | 0 | 0 | Zero Only
6.06 | Supply & Wiring of Power Points using 3 Runs of 4 Sq.mm. 1.1 KV grade ISI marked PVC insulated FRLS single core stranded copper wire for earthing through 20/25 mm dia. Medium duty electrical grade ISI marked PVC conduit in recessed system. For Split Air Conditioners. (Maximum 3m to 5m distance between switch and socket) | item81 | 900 | m | [47 empty] | 0 | 0 | Zero Only
6.07 | POWER OUTLETS / SWITCHES Supply, Fixing, testing & commissioning of the following Modular type 230V Plug Sockets, Controlling Switches with suitable size metal box, inner base plate, outer cover, termination of wires, earthing the box etc. Complete as required switches Make: Legrand MyLink, L&T, MK or Equivalent | [50 empty] | 0 | 0 | Zero Only
6.08 | 1 No. 6A 2/3 pin combined Modular type shuttered socket controlled by 1 No .one‐way 6A SP MCB | item82 | 89 | Nos | [47 empty] | 0 | 0 | Zero Only
6.09 | 1 No.6/16A 6 pin combined modular type shuttered socket controlled by 1 No. one way 16A SP MCB | item83 | 31 | Nos | [47 empty] | 0 | 0 | Zero Only
6.1 | 1 No.20A 6 pin combined modular type shuttered socket controlled by 1 No. one way 20A SP MCB for Air Conditioner | item84 | 12 | Nos | [47 empty] | 0 | 0 | Zero Only
6.11 | 1 No 63 A 3 pin combined modular type shuttered socket controlled by 1 No 63 A MCB | item85 | 2 | Nos | [47 empty] | 0 | 0 | Zero Only
6.12 | LIGHT FITTINGS (Supply & Fixing) Supply, Installation, testing and commissioning of following Light fittings with necessary fixing accessories required for installation, complete as required. (Samples to be approved by the Client) | [50 empty] | 0 | 0 | Zero Only
6.13 | 28W LED Panel Ceiling Light 2X2Ft Make: Havells/Philips/Bajaj/CG | item86 | 27 | Nos | [47 empty] | 0 | 0 | Zero Only
6.14 | 28W LED Panel Ceiling Light 4X1Ft Make: Havells/Philips/Bajaj/CG | item87 | 13 | Nos | [47 empty] | 0 | 0 | Zero Only
6.15 | 20W LED Panel Ceiling Light 2X1Ft Make: Havells/Philips/Bajaj/CG | item88 | 12 | Nos | [47 empty] | 0 | 0 | Zero Only
6.16 | 10W Tube Light Make: Havells/Philips/Bajaj/CG | item89 | 6 | Nos | [47 empty] | 0 | 0 | Zero Only
6.17 | Exhaust Fan 8’’ | item90 | 4 | Nos | [47 empty] | 0 | 0 | Zero Only
6.18 | Ceiling Fan 1200mm | item91 | 8 | Nos | [47 empty] | 0 | 0 | Zero Only
6.19 | Installation, testing and commissioning of the following ceiling fans, exhaust fans as per standards with all wiring, terminations, interconnections etc. complete as required | item92 | 8 | Nos | [47 empty] | 0 | 0 | Zero Only
6.2 | Ceiling fan , Exhaust fan, with all standard accessories with Regulator/with out regulator | item93 | 8 | Nos | [47 empty] | 0 | 0 | Zero Only
6.21 | AIR CONDITIONER: Supply, Installation, testing and commissioning of following Light fittings with necessary fixing accessories required for installation, complete as required. Preferable make O-General, Mitsubishi,Llyod or Equivalent (Samples to be approved by the Client) | [50 empty] | 0 | 0 | Zero Only
6.22 | 1TR | item94 | 7 | Nos | [47 empty] | 0 | 0 | Zero Only
6.23 | 1.5TR | item95 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
6.24 | 1.8TR | item96 | 4 | Nos | [47 empty] | 0 | 0 | Zero Only
6.25 | POWER CABLING: MCB Distribution Box and Enclosure: Supply, Erection, Testing and Commissioning of the following double door type MCB Distribution Boards with RCBO / Isolator at the incomer side and MCBs on the outgoing side. The work includes termination of incoming and outgoing wires, cables, conduits and earth wire. | [50 empty] | 0 | 0 | Zero Only
6.26 | Top cable entry for incoming and outgoing feeders. Fabricated out of 16SWG CRCA sheet. 1) Bus bars: 160A TPN Al. Busbar ‐ 1no. 2) Earth bus ‐ 25 x 3mm CU 3)Incomer: 160A 4P MCCB‐1no 4) Meters &Indications:Red, Yellow, Blue LED Indication Lamps along with 3nos 2A Control fuses ‐ 2sets. KWH Meter with RS485 Port‐1Set 5) Outgoings: 63A TPN Miniature Circuit Breaker – 1 no. (spare) 63A TPN Miniature Circuit Breaker – 9 no. (PDB) Design, Supply & Fabrication, Installation / labour | item97 | 1 | Nos | [47 empty] | 0 | 0 | Zero Only
6.27 | 12WAY SPN MCB D.B. (PDB) 12Way TPN MCB DB with three phase incomer and single phase out goings as per the following. Incomer: RCBO 63A, 4Pole with O/C & 30mA Earth Leakage trip – 1No. Outgoings: MCB 32A , SP –8nos. Supply:Labour / Installation / Erection | item98 | 9 | Nos | [47 empty] | 0 | 0 | Zero Only
6.28 | POWER SIDE ELECTRIFICATION LT ARMOURED CABLING WORK, SUPPLY & LAYING OF CABLES: Supply, Laying, testing and commissioning of the following PVC Insulated Armored Aluminum L.T.Cables (AYWY/AYFY) with suitable copper conductor for earthing, Cable glands, copper crimpled type cable lugs, etc. including supply and fixing of clamps, nuts and bolts, screws, identification tags, route markers etc. required for clamping intervals as necessary. Cables laying through walls/floor/false ceiling (counseled/open) as per the site condition. | [50 empty] | 0 | 0 | Zero Only
6.29 | 1.1KV Grade 3.5CX6Sqmm Cu Ar Cable | item99 | 500 | m | [47 empty] | 0 | 0 | Zero Only
6.3 | EARTHING.Supply, laying & clamping at site Copper earthing conductors inclusive of providing earthing terminations and bracing of the terminations etc. | [50 empty] | 0 | 0 | Zero Only
6.31 | 50mm GI Pipe Earthing with Charcoal & Salt | item100 | 4 | Nos | [47 empty] | 0 | 0 | Zero Only
6.32 | 25X6mm GI Earth Strip | item101 | 120 | m | [47 empty] | 0 | 0 | Zero Only
6.33 | 2RX6Sqmm Cu Wire for Earthing | item102 | 200 | m | [47 empty] | 0 | 0 | Zero Only
7 | PLUMBING WORKS | [50 empty] | 0 | 0 | Zero Only
7.01 | WATER SUPPLY INTERNAL | [50 empty] | 0 | 0 | Zero Only
7.02 | WATER SUPPLY (INTERNAL): Providing, Fixing, testing and commissioning at site CPVC Pipes of approved make cutting to din standard ( 8077 or 8078) For Cold Water Supply with Malleable Specials such as tees,elbows, check nuts, unions, flanges, nipples, etc including cutting, threading, fixing in/on walls, ceiling, under floor etc. as per drawing. The quoted rate shall include for necessary excavation, backfilling, chasing the walls, making bore in walls etc.,& making good the chased surfaces & bores in cement mortar, hanging clamps & anchor fasteners wherever required etc. complete | [50 empty] | 0 | 0 | Zero Only
7.03 | 20 mm dia. CPVC Pipe SDR 11( Concealed) Providing & Fixing | item103 | 60 | m | [47 empty] | 0 | 0 | Zero Only
7.04 | Providing, Fixing, testing and commissioning at site in positions as detailed in drawings, forged brass Ball Valves complete in all respects.20mm dia | item104 | 8 | Nos | [47 empty] | 0 | 0 | Zero Only
7.05 | Providing, Fixing, testing and commissioning at site in positions as detailed in drawings, Laboratory Faucet complete in all respects.20mm dia | item105 | 8 | Nos | [47 empty] | 0 | 0 | Zero Only
7.06 | Providing, Fixing, testing and commissioning at site in positions as detailed in drawings, forged brass Ball Valves complete in all respects.50mm dia | item106 | 5 | Nos | [47 empty] | 0 | 0 | Zero Only
7.07 | INTERNAL PLUMBING-SANITARY FIXTURES. | [50 empty] | 0 | 0 | Zero Only
7.08 | Supply, Fixing, Testing and commissioning at site semi ‐ recessed counter wash basin with accessories 32mm CP brass waste coupling of standard pattern and union including cutting and making good the walls wherever required etc complete Make‐ KOHLER, CERA, JAGUAR or equivalent LxWxD 64x44x23 cm. | item107 | 8 | Nos | [47 empty] | 0 | 0 | Zero Only
7.09 | Ceramic Plain Full Pedestal Flagtin Basin: Supply,Fixing, Testing and commissioning at site wall mounted wash bain with accessories 32mm CP brass waste coupling of standard pattern and union including cutting and making good the walls wherever required etc complete with wall brackets. Make: KOHLER, CERA ,JAGUAR or equivalent | item108 | 2 | Nos | [47 empty] | 0 | 0 | Zero Only
7.1 | 50 mm dia. PVC Pipe ( Concealed) Providing & Fixing | item109 | 60 | m | [47 empty] | 0 | 0 | Zero Only
7.11 | Supply,Fixing, testing and commissioning at site 40mm dia CP Bottle Trap For Wash Basin of approved make complete Make:Kohler and equivalent | item110 | 8 | Nos | [47 empty] | 0 | 0 | Zero Only
7.12 | Hand Dryers with sensor: Supply installation and fixing | item111 | 2 | Nos | [47 empty] | 0 | 0 | Zero Only
7.13 | Soap Solution Dispenser | item112 | 2 | Nos | [47 empty] | 0 | 0 | Zero Only
8 | CIVIL WORKS | [50 empty] | 0 | 0 | Zero Only
8.01 | Plastering:Plastering all walls with cement mortar. Rate to include any surface preparation. Corners of the wall should be rounded. Cement and sand proportion is should be 1:4 | item113 | 30 | Sqm
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Figures |  | item14 |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K12: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information